# Results for MAPbI$_3$ Control

## Material Parameters

Effective mass of electron (me*): 0.138 mₑ

Effective mass of hole (mh*): 0.118 mₑ

Relative dielectric constant (εᵣ): 7.500

## Peak Energy and FWHM vs Time

## Peak Energy and Radius vs Time

## Region Bounds

Region 1: 38 to 83 s

Region 2: 83 to 101 s

Region 3: 101 to 374 s

## Fitting Equations and R² Values

Region 1: r(t) = 1.00 * exp(-t / 50.0) + nan, R² = nan

Region 2: r(t) = 1.00 * exp(-t / 50.0) + nan, R² = nan

Region 3: r(t) = -2.89 * exp(-t / 277.6) + 14.72, R² = 0.901

## Derivative Equations

Region 1: dr/dt = -0.020 * exp(-t / 50.0)

Region 2: dr/dt = -0.020 * exp(-t / 50.0)

Region 3: dr/dt = 0.010 * exp(-t / 277.6)

## Growth Rates vs Time